2015.09.07 기준

|  | VACUUM GAUGE PRICE LIST |
| --- | --- |

*부가세별도

| VGC301A | VGC301A Convection Vacuum Gauge Controller |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  | 850,000 | 850,000 | 1,000,000 | Flange NW25 Power Supply Included |

| CVM201 | CVM201 Convection Vacuum Gauge Module |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  | 620,000 | 650,000 | 750,000 | Flange NW25 Power Supply Included |

| CVM211 | CVM211 Convection Vacuum Gauge Module |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  | 400,000 | 450,000 | 500,000 | Flange NW25 Power Supply Included |

| CVG101 | CVG101 Convection Vacuum Gauge Sensor |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  | 190,000 | 230,000 | 280,000 | Flange NW25 |

B-RAX3000 series Vacuum Gauge Controller

*부가세별도

| B-RAX Series |  | B-RAX Ionization and Convection Vacuum Gauge Module |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 규격 |  | 대리점 |  | 장비업체(딜러) |  | 소비자 |  | 비고 |
|  |  | 3200 |  |  |  | 1,500,000 |  | 1,500,000 |  | Power Supply 포함 CG/Ion Gauge Cable 미포함 |
|  |  | 3300 |  |  |  | 2,500,000 |  | 2,500,000 |  |  |
|  |  | 3400 |  |  |  | 2,600,000 |  | 2,600,000 |  |  |
| Series 600 Hot Cathode Ionization Vacuum Gauge For B-RAX 3300/3400 |  |  |  |  |  |  |  |  |  |  |
| BA601 |  |  | BA602 |  |  |  | BA603 |  |  |  |
| 딜러 | 560,000 |  | 딜러 |  | 560,000 |  | 딜러 |  | 280,000 |  |
| 소비자 | 600,000 |  | 소비자 |  | 600,000 |  | 소비자 |  | 300,000 |  |

| Ionization Vacuum Gauge For B-RAX 3200 |  |  |  |
| --- | --- | --- | --- |
| Hot Cathode |  | Cold Cathode |  |
| IGM400 |  | CCM500 |  |
| 딜러 | 1,000,000 | 딜러 | 1,500,000 |
| 소비자 | 1,000,000 | 소비자 | 1,600,000 |
| Replacement Sensor IG4 series |  | Replacement Sensor CCM5 series |  |
| 딜러 | 400,000 | 딜러 | 750,000 |
| 소비자 | 450,000 | 소비자 | 800,000 |

*부가세별도

| IGM401 | IGM401 Hot Cathode Miniature-Ionization Vacuum Gauge |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  |  | 1,250,000 | 1,300,000 | Power Supply 포함 |
| Replacement Sensor IG4 series |  | 400,000 | 450,000 | 교정비용포함 Flange NW25 |

| CCM501 | CCM501 Cold Cathode Miniature-Ionization Vacuum Gauge |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  |  | 1,600,000 | 1,700,000 | Power Supply 포함 |
| Replacement Sensor CC5 series |  | 750,000 | 800,000 | 교정비용포함 Flange NW25 |

| IGM402 | IGM402 Hot Cathode Miniature-Ionization Vacuum Gauge with Dual Convection |  |  |  |
| --- | --- | --- | --- | --- |
|  | 대리점 | 장비업체(딜러) | 소비자 | 비고 |
|  |  | 1,400,000 | 1,500,000 | Convection Gauge Cable 미포함 |
| Replacement Sensor IG4 series |  | 400,000 | 450,000 | 교정비용포함 Flange NW25 |

| FlexRax® 4000 Multi-Gauge Controller |  |  |
| --- | --- | --- |
| Option cards selection | FLX4000 - (Base Price: $1,045) | # - # - # - # - # - # - # $ Price x 1.3 x 환율 |

| #Slot 1 IGM/CG* option (operates 2 convection and 1 IGM 400 / CCM500 ion Gauge AI/O-R* option (4 setpoint relays, 4 analog outputs, 1 analog input) AI/O-R* option (8 setpoint relays, 4 analog outputs, 1 analog input) None | IC ($280) AI4 ($280) AI8 ($345) X ($0) |
| --- | --- |
| #Slot 2 IGM/CG* Option (operates 2 convection and 1 IGM 400 / CCM500 ion Gauge AI/O-R* option (4 setpoint relays, 4 analog outputs, 1 analog input) AI/O-R* option (8 setpoint relays, 4 analog outputs, 1 analog input) None | IC ($280) AI4 ($280) AI8 ($345) X ($0) |
| #Slot 3 AI/O-R* option (4 setpoint relays, 4 analog outputs, 1 analog input) AI/O-R* option (8 setpoint relays, 4 analog outputs, 1 analog input) None | AI4 ($280) AI8 ($345) X ($0) |
| #Slot 4 AI/O-R* option (4 setpoint relays, 4 analog outputs, 1 analog input) AI/O-R* option (8 setpoint relays, 4 analog outputs, 1 analog input) None | AI4 ($280) AI8 ($345) X ($0) |
| #Slot 5 IGR option (operates one I2R degas B-A Glass or Nude Ionization gauge IGE option (operates one EB Degas B-A Ionization gauge) None | IR ($540) IE ($565) X ($0) |
| #Slot 6 IGR option (operates one I2R degas B-A Glass or Nude Ionization gauge IGE option (operates one EB Degas B-A Ionization gauge) None | IR ($540) IE ($565) X ($0) |
| #Slot 7 Serial communication option – RS485/RS232 None | CM ($175) X ($0) |

See the next page for gauge cable assemblies.

All gauge to be connected to the FlexRax 4000 must be ordered separately.

Cable Assemblies for Gauge

| BA601 / BA602 Nude IG Cable – 50 Deg C max Temperature |  |  |  |
| --- | --- | --- | --- |
| Cable lengths | BA601/BA602 Nude IG Cable P/N | Dealer. | Customer. |
| 10 ft. (3m) | IRN441-1-10F | 350,000 | 350,000 |
| 25 ft. (8m) | IRN441-1-25F | 400,000 | 400,000 |
| 50 ft. (15m) | IRN441-1-50F | 500,000 | 500,000 |
| >50 ft. | Consult factory |  |  |
| BA601 / BA602 Nude IG Cable: Bakeable to 200 Deg C, provided with push-on sockets for connection to transducer pins. |  |  |  |
| Cable lengths | BA601/BA602 Nude IG Cable P/N | Dealer. | Customer. |
| 10 ft. (3m) | IRNBD441-1-10F | 380,000 | 380,000 |
| 25 ft. (8m) | IRNBD441-1-25F | 550,000 | 550,000 |
| 50 ft. (15m) | IRNBD441-1-50F | 750,000 | 750,000 |
| >50 ft. | Consult factory |  |  |
| BA603 Glass IG Cable – 50 Deg C max Temperature |  |  |  |
| Cable lengths | BA603 Glass IG Cable P/N | Dealer. | Customer. |
| 10 ft. (3m) | IRG441-1-10F | 250,000 | 250,000 |
| 25 ft. (8m) | IRG441-1-25F | 350,000 | 350,000 |
| 50 ft. (15m) | IRG441-1-50F | 450,000 | 450,000 |
| >50 ft. | Consult factory |  |  |
| IGM400 and CCM500 ionization Gauge Cable |  |  |  |
| Cable lengths | IGM400/CCM500 Cable P/N | Dealer. | Customer. |
| 10 ft. (3m) | BXC400-1-10F | 120,000 | 120,000 |
| 25 ft. (8m) | BXC400-1-25F | 150,000 | 150,000 |
| 50 ft. (15m) | BXC400-1-50F | 200,000 | 200,000 |
| CVG101 Convection Gauge Cable |  |  |  |
| Cable lengths | BA601/BA602 Nude IG Cable P/N | Dealer. | Customer. |
| 10 ft. (3m) | CB421-1-10F | 120,000 | 120,000 |
| 25 ft. (8m) | CB421-1-25F | 150,000 | 150,000 |
| 50 ft. (15m) | CB421-1-50F | 200,000 | 200,000 |